VGB DATA SHEET 
Fill out one form for EACH POOL OR SPA

NAME OF POOL: 								                  DATE:

ADDRESS:

TYPE OF POOL:   Main pool  Spa    Wading   Diving    Training    Spray ground     Other _____________

## SWIMMING POOL GENERAL SPECIFICATIONS

| Pool Capacity: | gallons |
| --- | --- |
| Design Flow Rate: | gpm |
| Actual Flow Rate (after backwashing/cleaning filters): | gpm |

PROPOSED VGB COVER(S)

| Main Drain |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Mfr: |  | Model: |  | Rating for Floor or Wall (circle one) | gpm |
| Equalizer |  |  |  |  |  |
| Mfr: |  | Model: |  | Rating for Floor or Wall (circle one) | gpm |

## Pipe sizes*								Sump Depth

| Main Drain: | inches |
| --- | --- |
| Jet Drain: | inches |
| Equalizer: | inches |

## *the first 16” of pipe from the suction outlet

| Main Drain: | inches |
| --- | --- |
| Jet Drain: | inches |
| Equalizer: | inches |

RECIRCULATION

| Filter Pump Mfr: |  | Model: |  | HP: | □ Existing | □ Proposed | max.gpm: |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Jet Pump Mfr: |  | Model: |  | HP: | □ Existing | □ Proposed | max.gpm: |
| Booster Pump Mfr: |  | Model: |  | HP: | □ Existing | □ Proposed | max.gpm: |
| Note: the maximum flowrate should be determined by reading the maximum gpm on the pump curve. |  |  |  |  |  |  |  |

| Existing equalizer lines are installed and operating? | Yes | No |
| --- | --- | --- |
| Equalizer covers to be replaced? | Yes | No |
| Are Main Drains Split? | Yes | No |
| Main drain is to be split and balanced during this project? | Yes | No |
| Existing skimmers and main drain(s) are on separate suction lines? | Yes | No |
| Current mfr. specifications provided for proposed covers? Check the mfr. website for most up to date spec sheet. | Yes | No |

Anti-entrapment devices:  □ Split drains    □ SVRS   □ Gravity (perimeter overflow with sump)   □ Vent    □ Combination

□ Existing  	□ Proposed 	□ Other types

*TOTAL DYNAMIC HEAD

When the maximum flow rate listed on the pump curve is higher than the flowrate listed for the proposed VGB cover, the total dynamic head may be calculated to determine the actual maximum flow rate of the pump (based on the pump curve).

- Install vacuum & pressure gauges on the pump

- Backwash/clean filters

- Record readings of vacuum and pressure gauges with the pump running

- Record readings of flow meters

| Filter Pump: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Vacuum Gauge Reading |  | x | 1.13 | = | Box 1 |
| Pressure Gauge Reading |  | x | 2.31 | = | Box 2 |
| (Add Box 1 and Box 2 ) TDH = |  |  |  |  |  |

| Jet/Booster Pump: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Vacuum Gauge Reading |  | x | 1.13 | = | Box 1 |
| Pressure Gauge Reading |  | x | 2.31 | = | Box 2 |
| (Add Box 1 and Box 2 ) TDH = |  |  |  |  |  |

| Jet/Booster Pump: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Vacuum Gauge Reading |  | x | 1.13 | = | Box 1 |
| Pressure Gauge Reading |  | x | 2.31 | = | Box 2 |
| (Add Box 1 and Box 2 ) TDH = |  |  |  |  |  |

| Actual Flowrate |  |
| --- | --- |
| Filter Pump: | gpm |
| Jet/Booster Pump: | gpm |
| Jet/Booster Pump: | gpm |